National Institute of Technology Mizoram
Chaltlang, Aizawl-796012.
Mizoram, India.

Tel:- 0389-2391236 (O)

Ref: No. NIT-MZ/D-1/M.E/2015/6123			                   Date:    17/07/2015

NOTICE INVITING 	TENDER (NIT)

FOR SUPPLY & INSTALLATION OF EQUIPMENTS  FOR  FLUID MECHANICS -II LABORATORY OF MECHANICAL ENGINEERING DEPARTMENT AT NIT MIZORAM, AIZAWL

The Director, NIT Mizoram invites quotation for supply & Installation of Equipments as per details at ANNEXURE-IV, in Two Bids to reach the undersigned on or before .

| Sl No. | Reference No. | Items | Qty | EMD (Rs.) in the form of DD | Tender Document Fee (Rs.) in the form of DD only. |
| --- | --- | --- | --- | --- | --- |
| 01. |  | Supply & Installation of Equipments for Fluid Mechanics- II Laboratory to be installed at NIT, Mizoram, Aizawl | One Package | Rs. 150000.00 | 1,000.00 |

1.  Last date & Time for Submission:         17.08-2015  (03.00 PM)

2. Date/Time for Opening of Tech. Bids:    17.08.2015 (03.30 PM)

3. Date of notifying the technically qualified bidders in the website:  01.09.2015

4. Evaluation of Financial bids for technically qualified bidders:       04.09.2015

Venue of Bid Opening at NIT, MIZORAM, AIZAWL

BID INSTRUCTION:

01. Quotations will have to be submitted in TWO Bids. The address of the firm submitting the quotation and the Officer to whom the quotation is addressed must appear distinctly on sealed covers. Further, on sealed cover, the following are to be written:

QUOTATION FOR SUPPLY & INSTALLATION OF EQUIPMENTS  FOR  FLUID MECHANICS -II LABORATORY OF MECHANICAL ENGINEERING DEPARTMENT AT NIT MIZORAM, AIZAWL,    NIQ REF NO________________ DATE:

02 Submission of Compliance Certificate: Duly filled and signed Compliance Certificates (as per formats at Annexure I( A & B) are must with the Technical bid.

03. Bid not transferable: The bid documents are not transferable and the seal and signature of the authorized official of the firm’s must appear on all the papers and envelopes submitted

QUALIFICATION REQUIREMENTS

1. The Bidder should be a Original Equipment Manufacturer (OEM)Or a firm of reputation having sufficient expertise and experience in the subject tender with sound warranty / service support capability and authorization from Manufacturer/Distributor.

2. The Bidder has to Quote for all the items in the Fluid Mechanics-II Laboratory, Bidders who do not Quote for all the items are subject to be disqualified.

NIT TERMS & CONDITIONS:

- Rates: Rates quoted in the Price Bid should be on DOOR DELIVERY NIT Mizoram basis, as per details below:

| Sl. No. | Particulars | Rate |
| --- | --- | --- |
| I | Basic Price (per unit) |  |
|  | Total |  |
|  | Taxes(pl. give break up) |  |
|  | Grand Total for the item on door delivery at NIT Mizoram |  |

Bidders shall indicate their rates in clear/visible figures as well as in words and shall not alter/overwrite/make cutting in the quotation. In case of a mismatch, the rates written in words will prevail.

02. Validity of Quotation: Quoted rates must be valid for 90 days from the date of quotation.

03. Warranty:  The quoted equipment and components must be warranted for a minimum of 1(One)

year after satisfactory installation.

04. Literature a must: All the quotations must be supported by the printed technical leaflet/literature and the specifications mentioned in the quotation must be reflected/ supported by such printed technical leaflet/literature. The model and specifications quoted should invariably be highlighted in the leaflet/literature for easy reference.

05. After Sales Service: Vendors should clearly state the available nearest after sales service facilities in the region, without which their offers will be rejected.

06. Dealership Certificate:  Dealers or Agents quoting on behalf of Manufacturer/Distributor must enclose valid dealership certificate.

07.  Earnest Money:

Refundable earnest money deposit (EMD) of the Quoted Value through demand draft drawn in favour of “The Director ,National Institute of Technology Mizoram”, payable at Aizawl, will have to accompany the technical Bid. The EMD of unsuccessful bidders shall be returned after award of contract. EMD of the successful bidder will be released on submission of the Performance Bank Guarantee. Offers received without Earnest Money or valid Certificate shall be summarily rejected.

08.  Performance Bank Guarantee (PBG): In case of items with order value of Rupees five lakhs (INR 5,00,000/-) and above, the successful bidder shall furnish an unconditional PBG (as per format at Annexure II) for 5%  of the Purchase Order value from a scheduled Bank of India, after receiving the purchase order. Where the PBG is obtained by a foreign bank, it shall be got confirmed by a Schedule Indian bank and shall be governed by Indian Laws and be subject to the jurisdiction of courts at Aizawl. The PBG will be kept  till the Warranty Period and The PBG shall guarantee that,

(a) The Vendor guarantees satisfactory operation of the Equipment & components against poor workmanship, bad  quality of materials used, faulty designs and poor performance.

(b) The Vendor shall, at his own cost, rectify the defects/replace the items supplied, for defects identified during the period of guarantee.

(c) This guarantee shall be operative from the date of installation till 120 days after the warranty period.

09.  Delivery:

a) Time Limit: Maximum within 12-16 Weeks from the date of issue of this purchase order.

b) Safe Delivery: All aspects of safe delivery shall be the exclusive responsibility of the vendor. At the destination site, the package will be opened only in the presence of NIT user/representative and vendor's representative. The intact condition of the package and the seal/indicators for not being tempered with, shall form the basis for certifying the receipt in good condition.

c)  Insurance: The supplier is to establish ‘All Risk Transit Insurance’ coverage till door delivery at NIT Mizoram.

###### d)  Part Delivery: Acceptance of part delivery shall be a prerogative of the institute.

e) Penalty for delay in delivery: The date of delivery should be strictly adhered to otherwise the Director, NIT Mizoram reserves the right not to accept delivery in part or full.

10. Genuine Pricing: Vendor is to ensure that quoted price for the particular item is not more than the price quoted to any other customer in India, particularly to IITs/NITs and other Government Organization.

11. Conditional tenders not acceptable:  All the terms and conditions mentioned herein must be strictly adhered to by all the vendors. Conditional tenders shall not be accepted on any ground and shall be rejected straightway. Conditions mentioned in the tender bids submitted by vendors will not be binding on NIT Mizoram.

12. Road Permit: NIT, Mizoram will provide Road Permit to the Vendors of outside Mizoram.

13. VAT deduction at source: In case of supply within Mizoram, VAT deduction at source, as per Order/ notification of the Govt. of Mizoram will be applicable.

14. Late and delayed tender: Late and delayed tender will not be considered. In case any unscheduled holiday occurs on the prescribed closing/opening date the next working day shall be the prescribed date of closing/opening.

15.  Payment:

(a) 100% payment within 30(thirty) days from date of delivery, Satisfactory installation, acceptance and Training

16.  Payment for Imported Goods: By an irrevocable letter of Credit at CIF/CIP Kolkata value negotiable through any overseas branch of State Bank of India/any Schedule Bank of India.

Note: Please note LoC will not be opened unless and until Letter of Acknowledgement in original is received at  NIT, Aizawl, Mizoram, directly from the principal (Even in case of firms having subsidiary office in India).

17. ADDITIONAL TERM FOR IMPORTED GOODS

Following term besides the fore mentioned terms will be applicable in case of foreign purchases:

Rates: Prices quoted must be for destination including freight and insurance charges inclusive of free delivery up to the door of department/centre NIT, Mizoram premises, as per details below:

| Sl. No. | Particulars | Rate |
| --- | --- | --- |
| a |  |  |
| I | Basic Price (per unit) |  |
| II | Total |  |
| III | Custom Duty (Approximate) |  |
| IV | Grand Total for the item on door delivery at NIT Mizoram |  |

18.   Free Maintenance & Service for 20 Years: An agreement is to be executed between the Institute & the Manufacturer/Distributor/Dealer for providing Free Maintenance & Service for 20 Years after expiry of the Warranty Period of the equipment by the Manufacturer/Distributor/Dealer (Preferably from the Manufacturer) within 30 Days from the day of Complain. The cost of the Spare parts required for the service and maintenance will be paid by the Institute along with the To & Fro charges (The cheapest mode of Travel).

19.  Enquiry during the course of evaluation not allowed: No enquiry from the bidder(s) shall be entertained during the course of evaluation of the tender till final decision is conveyed to the successful bidder(s). However, the Purchase Committee or its authorized representative may make enquiries/seek clarification from the bidders. In such a case, the bidder must extend full co-operation.  The bidders may also be asked to arrange demonstration of the offered items, in a short period of notice.

20. The acceptance of the quotation will rest solely with the Director, NIT Mizoram, who in the interest of the Institute is not bound to accept the lowest quotation and reserves the right to himself to reject or partially accept any or all the quotations received without assigning any reasons.

21. Force Majeure:

If the performance of the obligation of either party is rendered commercially impossible by any of the events hereafter mentioned that party shall be under no obligation to perform the agreement under order after giving notice of 15 days from the date of such an event in writing to the other party, and the events referred to are as follows:

- Any law, statute or ordinance, order action or regulations of the Government of India,

- Any kind of natural disaster, and

- Strikes, acts of the Public enemy, war, insurrections, riots, lockouts, sabotage.

22.  Applicable Law:

(a) The contract shall be governed by the laws and procedures established by Govt. of India and subject to exclusive jurisdiction of Competent Court and Forum in Aizawl / India only.

(b)  Any dispute arising out of this purchase shall be referred to the Director NIT Mizoram, and if either of the parties hereto is dissatisfied with the decision, the dispute shall be referred to the decision of an Arbitrator, who should be acceptable to both the parties, to be appointed by the Director of the Institute. The decision of such Arbitrator shall be final and binding on both the parties.

Encl.: ANNEXURE-I, ANNEXURE-II, ANNEXURE-III & ANNEXURE-IV

Sd/-

DY REGISTRAR (F& A)

NATIONAL INSTITUTE OF TECHNOLOGY MIZORAM

Annexure -I

- COMPLIANCE CERTIFICATE FOR NIT TERMS

(To be enclosed in the Technical bid)

| Sl. No. | NIT Terms and Conditions | Yes/No |
| --- | --- | --- |
| 01 | Rate quoted as per instruction |  |
| 02 | AMC rate after warranty provided |  |
| 03 | Validity of quoted rate for 90 days agreed |  |
| 04 | EMD submitted (appropriate certificate enclosed) |  |
| 05 | PBG term agreed |  |
| 06 | Payment term agreed |  |
| 07 | Delivery terms agreed |  |
| 08 | Warranty period agreed |  |
| 09 | Literature: Printed Literature provided |  |
| 10 | Dealership / distributorship certificate (in case of dealers/agents) provided |  |
| 11 | Sales Service: address of after Sales Service centre in India (for imported goods)/ in the region provided |  |
| 12 | Applicable law terms agreed |  |

Signature with Seal:..…………….

Vendor: M/s………………………

- COMPLIANCE CERTIFICATE FOR SPECIFICATIONS

(One for each item must to be enclosed in the Technical bid)

| Item Sl. No. |  |  |
| --- | --- | --- |
| Specifications as per Annexure-IV | Quoted Item Specs.* | Complied (Yes/No) |

Signature with Seal:..…………….

Vendor: M/s………………………

* Vendor must quote the parameter specification of the quoted product in this column and not just copy the specification from the tender call document. Failure to do so will lead to rejection of the tender.

##### Annexure –II

##### PERFORMANCE BANK GUARANTEE

To:

The Director

National Institute of Technology

Aizawl-796012, Mizoram

WHEREAS ................................................................... (Name of Supplier)

hereinafter called "the Supplier" has undertaken, in pursuance of Contract No................. dated,......... 20... to supply...................... ................................................. (Description of Goods and Services) hereinafter called "the order".

AND WHEREAS it has been stipulated by you in the said order that the Supplier shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with the Supplier's performance obligations in accordance with the order.

AND WHEREAS we have agreed to give the Supplier a Guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of ...................................   ........................................ (Amount of the Guarantee in Words and Figures) and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the order and without cavil or argument, any sum or sums within the limit of ................................ (Amount of Guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the ........day of...................20......

Signature and Seal of Guarantors

................................

................................

................................

Date......................20....

Address:........................

................................

................................

All correspondence with reference to this guarantee shall be made at the following address:

National Institute of Technology Mizoram

Annexure -III

MANUFACTURERS'/ DISTRIBUTOR’S AUTHORIZATION FORM

No. 								Dated __________

The Director

National Institute of Technology

Aizawl-796012, Mizoram

Dear Sir:

We…………………………………………………………………. who are established and reputable

Manufacturers/distributors of ……………………………………………………………………having factories/office at--------------------------------------------------------------------------------------------

--------------------------------------------------------------------------------------------------------

(address of factory/office) do hereby certify that…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………(Name of the Authorised Dealer)is our authorized dealer to quote against your tender enquiry no ……………………………………………………………………………………………………….. ,Last Date of Submission  is:

Yours faithfully,

(Name)

(Name of Manufacturer/Distributor)

ANNEXURE-IV

LIST OF EQUIPMENTS & SPECIFICATION FOR FLUID MECHANICS -II

| Sl No. | Item Description | Qty |
| --- | --- | --- |
| 1. | COMPUTER CONTROLLED -PELTON WHEEL TURBINE TEST RIG - Output Power 1.0 -1.25 kW (With Data Logging Facility) TECHNICAL SPECIFICATION : - Output Power : 1.0 -1.25 kW. - Impeller : Bucket type. - Nozzle : Material Stainless Steel. - Spear : Material Stainless Steel. - Nozzle Position : (A) Manual Operated / (B) Computer control. - Dynamometer : Eddy current type with computer control. - Discharge & Pressure Control : By varying RPM of Pump through AC drive. - Applied Load Control drive: (A) Manual Operated / (B) Computer control Through DC - Discharge Measurement : Differential Pressure Transmitter with Pitot Tube. - Pressure Measurement : Pressure Transmitter, Output 4-20 mA - Load Measurement : Load Cell with Transmitter (2 Nos.) - Water Circulation : Centrifugal Pump, Standard make, Capacity 5 HP, Three Phase. - Control Panel Should Comprises of : L&T/Any Compatible make Starter, Mains Indicator, and MCB for overload protection. - Tanks should be made of Stainless Steel. - An ENGLISH instruction manual consisting of experimental procedures, block diagram etc. should be provided along with the Apparatus - The whole set-up should be well designed and arranged on a rigid structure painted with industrial PU Paint - Branded Desktop Computer with i5 processor, 4GB Ram, and UPS. - It Should be Capable : - To determine the Output Power of Pelton Wheel Turbine at Different Load. - To determine the Output Power of Pelton Wheel Turbine at Different Discharge. - To determine the Output Power of Pelton Wheel Turbine at Different Nozzle Position. - To determine the Efficiency of Pelton Wheel Turbine at Different Load. - To determine the Efficiency of Pelton Wheel Turbine at Different Discharge. - To determine the Efficiency of Pelton Wheel Turbine at Different Nozzle Position. - To Plot Main Characteristic Curve: ( A) Unit Power Vs Unit Speed (B) Unit Discharge Vs Unit Speed - Efficiency Vs Unit Speed - To Plot Muschel Curve: Efficiency Vs RPM - To Plot Operating Curve or Constant speed Curve: - Efficiency Vs Discharge - Output Power Vs Discharge | 01 |
| 2. | COMPUTER CONTROLLED - GEAR PUMP TEST RIG - Variable Speed (With Data Logging Facility) TECHNICAL SPECIFICATION : - Pump : Speed 1500-1600 RPM (max.) Capacity 1 HP, Head 5kg/cm2 (max.) - Medium Flow : Clear Oil. - Drive : Variable Speed controlled through computer signal. - Control Valve : For Different Pressure through Computer Signal. - Discharge : By varying RPM of Pump through AC drive. - Sump Tank : Material Stainless Steel, suitable capacity. - Flow Measurement : By Using Flow Sensor. - Pressure Measurement: By Using Pressure Sensor, Vacuum Sensor. - RPM measurement : Digital RPM Indicator with Proximity sensor - Control Panel Should Comprises of- Energy meter: Electronic, L&T/Any Compatible make Starter, Standard make On/Off Switch, Mains Indicator, etc. - An ENGLISH instruction manual consisting of experimental procedures, block diagram etc. should be provided along with the Apparatus - The whole set-up should be well designed and arranged on a rigid structure painted with industrial PU Paint - Branded Desktop Computer with i5 processor, 4GB Ram, and UPS - It Should be Capable : - To determine total head - To determine pump output - To determine overall efficiency - To determine pump efficiency. - To plot Graph: - Head vs Discharge - Pump efficiency vs Discharge | 01 |
| 3. | COMPUTER CONTROLLED – RECIPROCATING PUMP TEST RIG - Variable Speed (With Data Logging Facility) TECHNICAL SPECIFICATION : - Pump : Double acting, Single Cylinder. Capacity 1 HP/ - Medium Flow : Clear Water - Drive : Variable Speed controlled through computer signal. - Control Valve : For Different Pressure through Computer Signal. - Discharge : By varying RPM of Pump through AC drive. - Flow Measurement : By Using Flow Sensor. - Pressure Measurement : By Using Pressure Sensor, Vacuum Sensor. - RPM Measurement : By Using Proximity Sensor. - Sump Tank : Material Stainless Steel, suitable capacity - Tanks should be made of Stainless Steel. - An ENGLISH instruction manual consisting of experimental procedures, block diagram etc. should be provided along with the Apparatus - The whole set-up should be well designed and arranged on a rigid structure painted with industrial PU Paint - Branded Desktop Computer with i5 processor, 4GB Ram and UPS - It Should be Capable : - To determine total head. - To determine pump efficiency. - To determine volumetric efficiency of the reciprocating pump. - To plot : (A) Head vs Discharge (B) Pump efficiency vs Discharge | 01 |
| 4. | COMPUTER CONTROLLED - CENTRIFUGAL PUMP TEST RIG - Variable Speed (With Data Logging Facility) TECHNICAL SPECIFICATION : - Pump : Centrifugal Type. - Medium Flow : Clear Water - Drive : Variable Speed controlled through computer signal. - Control Valve : For Different Pressure through Computer Signal. - Discharge : By varying RPM of Pump through AC drive. - Flow Measurement : By Using Flow Sensor. - Pressure Measurement : By Using Pressure Sensor, Vacuum Sensor - RPM Measurement : By Using Proximity Sensor - Sump Tank: Material Stainless Steel, suitable capacity. - Tanks should be made of Stainless Steel - An ENGLISH instruction manual consisting of experimental procedures, block diagram etc. should be provided along with the Apparatus - The whole set-up should be well designed and arranged on a rigid structure painted with industrial PU Paint. - Branded Desktop Computer with i5 processor, 4GB Ram, and UPS - It Should be Capable : - To determine Pump Output at different Pressure - To determine Pump Output at different Discharge. - To determine Pump Efficiency at different Pressure. - To determine Pump Efficiency at different Discharge. - To plot curves: (A) Head vs Discharge (B) Pump efficiency vs Discharge (C) Pump Output vs Discharge | 01 |
| 5. | COMPUTER CONTROLLED – FRANCIS TURBINE TEST RIG, Output Power 1.0 -1.25 kW (With Data Logging Facility) TECHNICAL SPECIFICATION : - Output Power : 1.0 -1.25 kW - Runner : Having Curved Vanes - Guide vane Position: (A) Manual Operated / (B) Computer control. - Dynamometer : Eddy current type with computer control - Discharge & Pressure Control : By varying RPM of Pump through AC drive - Applied Load Control Motor : (A) Manual Operated / (B) Computer control Through DC - Discharge Measurement : Differential Pressure Transmitter with Pitot Tube - Pressure Measurement : Pressure Transmitter, Output 4-20 mA - Load Measurement : Load Cell with Transmitter (1 Nos.) - RPM Measurement : Proximity Sensor - Water Circulation : Centrifugal Pump, Standard make, Capacity 5 HP Three Phase - Control Panel Comprises of : L&T/Any Compatible make Starter, Mains Indicator, MCB for overload protection - Tanks should be made of Stainless Steel 304 Grade - Desktop Computer with i5 processor, 4GB Ram, and UPS - It Should be Capable : - To study the operation of a Francis Turbine. - To determine the Output Power of Francis Turbine at different load. - To determine the Output Power of Francis Turbine at different Discharge. - To determine the Output Power of Francis Turbine at different Guide vane position. - To determine the Efficiency of Francis Turbine at different load. - To determine the Efficiency of Francis Turbine at different Discharge. - To determine the Efficiency of Francis Turbine at different Guide vane position - To Plot Main Characteristic Curve - Unit Power Vs Unit Speed - Unit Discharge Vs Unit Speed - Efficiency Vs Unit Speed - To Plot Muschel Curve: Efficiency Vs RPM - To Plot Operating Curve or Constant speed Curve - Efficiency Vs Discharge - Output Power Vs Discharge | 01 |
| 6. | IMPULSE SWIRL METER WITH DISPLAY UNIT: TECHNICAL SPECIFICATION : - It should comprise a honeycomb matrix mounted within a cylindrical housing, the dimensions of the individual cells of the matrix being suitable for arresting the swirl of the incoming air. - The matrix should be connected via a torque arm to a strain gauge transducer which is calibrated by suspending weights over pulleys either side of the torque arm. - The strain gauge transducer should be rated at 220g, measured as a positive or negative force; - The length of the torque arm is such as to enable torque values up to 1 x 10-1 Nm to be measured. | 01 |